**List of actual versions of the standards applied for calibration procedures under**

| Measuring Quantity | Calibration procedure | Standard / Guideline(actual version applied) |
| --- | --- | --- |
| Mass | Calibration of weight pieces, 1 mg to 20 kg, class F1 | OIML R 111 (Edition 2004) |
| Weighing instruments | Calibration of Non-automatic electronic weighing instruments and Non-automatic self-indicating mechanical weighing instruments | EURAMET cg-18:2015 |
| Temperature | Calibration of resistance thermometers | DKD-R 5-1:2018 |
| Temperature | Calibration of thermocouples | DKD-R 5-3:2018 |
| Temperature | Calibration of liquid-in-glass thermometers | PTB testing instructionVolume 2, 2nd edition |
| Temperature / Humidity | Calibration of climatic chambers | DKD-R 5-7:2018 |
| Pressure | Calibration of absolute pressure | DKD-R 6-1:2014EURAMET cg-17 (Version 3.0) |
| Pressure | Calibration of gauge pressure | DKD-R 6-1:2014EURAMET cg-17 (Version 3.0) 04/2019EURAMET cg-3 (Version 1.0)03/2011 |
| Volume | Calibration of piston pipettes and hand dispensersCalibration of Piston Operation pipette with air cushionCalibration of Multiple delivery Dispenser | ISO 8655:2009DKD-R 8-1:2011DKD-R 8-2:2018 |
| Volume | Calibration of laboratory glass ware | ISO 4787:2010 |
| Volume | Calibration of standard Measure Can | OIML R 120:2010 |